Great Basin Unified Air Pollution Control District

157 Short Street, Bishop, California 93514-3537

Tel: 760-872-8211   Fax: 760-872-6109

## Instructions for Authority to Construct/Permit to Operate Application

## Section A-5, Tanks and Gasoline Dispensing Facilities

- Person Completing Form:  Name of person completing form, date, information for calendar year, and APCD application number, if known.

- Facility Operating Schedule:	Estimate operating schedule as closely as possible.

- Reason for Application:  Check appropriate box.

- Scaled and Dimensioned Plot Plan Required: Scaled and dimensioned plot plan of facility (blueprints if possible) which shows and identifies the locations of:

### Public and private streets (Identify by names and numbers).

- Property lines (Identify owner of facility property and all adjacent landowners).

- Existing and proposed building: (Indicate their height).

- Storage areas for fuel tanks and products, above and below ground.

- Piping and ducts for carrying fuels and products. Also indicate any vapor return lines, and the slope of the return lines.

- Indicate the Island location

- Reference Number:  Assign an identifying number for each dispenser and tank, new existing or removed.

- List any special company tank identification number.

- Maximum Rated Capacity:  List the maximum rated capacity in gallons of product stored.

### Indicate the type of product stored.

- Tank equipped with (Phase I):

### Indicate if the tank is equipped with a submerge fill pipe.

- Indicate the type of Phase I fill tube connection (dual point or coaxial).

- Indicate if the tank is equipped with an overfill protection device.

- Indicate throughput:

### Indicate monthly throughput for each product, in gallons.

- Indicate percent annual throughput by season for all products.

- Indicate the number of existing nozzles, by product dispensed.

11.	Indicate the number of nozzles to be added or removed, by products.

### Total the number of new nozzles, by product dispensed.

- Indicate number of islands, including diesel islands.

- Vapor control equipment to be installed or modified:

### Identify the Phase I vapor recovery equipment that exists, or will be installed, and include the CARB executive order that applies to the system.

- Identify the Phase II vapor recovery equipment that exists, or will be installed, and include the CARB executive order that applies to the system.

14.	Phase II dispenser arrangement:

### Attach the CARB executive order that applies to the dispenser. (Describe the dispenser configuration if the CARB executive order is not known.)

- Phase II hoses and nozzles:

### Indicate the vapor return nozzle manufacturer.

### Indicate the model number.

### Indicate the internal diameter of the vapor return hose in inches (Note all new systems must be coaxial assembly).

- Indicate the type of Phase II vapor collection system, either the balance or vacuum assist.

17.	If installing a vacuum assist Phase II vapor collection system, indicate the manufacturer and model number.

18.	If installing a spill containment box, indicate the manufacturer and model number.